## POCT
Test | Specimen Type | Collection Type | Tube | Volume | TAT | Notes/Comments | Lab to send to | External testing lab (if applicable) | UKAS Accredited Test (Yes/No)
Acid-base (blood gas) | Blood | Capillary | Heparinised capillary | 0.10mL | ≤10min | See pO2, pCO2, pH, base excess and bicarbonate. | Point of Care Test | - | No
Actual Bicarbonate (calculated) – blood gas analyser | Blood | Arterial / Venous | Siemens Rapidlyte balanced heparin syringe (3ml) | 0.8mL | ≤10min | Do not use non-heparinised Plastipaks. Don’t let sediment. Mix thoroughly by rotation. | Point of Care Test | - | No
Actual Bicarbonate (calculated) – blood gas analyser | Blood | Capillary | Heparinised capillary | 0.10mL | ≤10min | Add capillary closing caps. Mix thoroughly by rotation. | Point of Care Test | - | No
Base Excess (calculated) | Blood | Arterial / Venous | Siemens Rapidlyte balanced heparin syringe (3ml) | 0.8mL | ≤10min | Do not use non- heparinised Plastipaks. Don’t let sediment. Mix thoroughly by rotation. | Point of Care Test | - | No
Base Excess (calculated) | Blood | Capillary | Heparinised capillary | 0.10mL | ≤10min | Add capillary closing caps. Mix thoroughly by rotation. | Point of Care Test | - | No
Blood gases | - | - | - | - | ≤10 mins | See pO2, pCO2, pH, base excess and bicarbonate. | Point of Care Test | - | No
Calcium (ionised) | Blood | Arterial / Venous | Siemens Rapidlyte balanced heparin syringe (3ml) | 0.8mL | ≤10min | Do not use non-heparinised Plastipaks. Don’t let sediment. Mix thoroughly by rotation. | Point of Care Test | - | No
Calcium (ionised) | Blood | Capillary | Heparinised capillary | 0.10mL | ≤10min | Mix thoroughly by rotation. | Point of Care Test | - | No
Carbon monoxide | Blood | Venous / capillary | Heparinised syringe/capillary | - | - | See Carboxyhaemoglobin. | Point of Care Test | - | No
Carboxyhaemoglobin (COHb; reported as %Hb) – blood gas analyser | Blood | Arterial / Venous | Siemens Rapidlyte balanced heparin syringe (3ml) | 0.8mL | ≤10min | Do not use non-heparinised Plastipaks. Don’t let sediment. Mix thoroughly by rotation. | Point of Care Test | - | No
Carboxyhaemoglobin (COHb; reported as %Hb) – blood gas analyser | Blood | Capillary | Heparinised capillary | 0.10mL | ≤10min | Mix thoroughly by rotation. | Point of Care Test | - | No
Chloride (blood gas analyser) | Blood | Arterial / Venous / Capillary | Siemens Rapidlyte balanced heparin syringe (3ml) or capillary with closing caps, | 0.8mL syr. 0.10mL cap. | ≤10min syr. ≤10min cap. | Do not use non- heparinised containers. Mix thoroughly by rotation. | Point of Care Test | - | No
Glucose (blood gas analyser) | Blood | Arterial / Venous / Capillary | Siemens Rapidlyte balanced heparin syringe (3ml) or capillary with closing caps, | 0.8mL syr. 0.10mL cap. | ≤10min syr. ≤10min cap. | Do not use non-heparinised containers. Keep well mixed right up until analysis. Mix thoroughly by rotation. | Point of Care Test | - | No
Haemoglobin (total, tHb; g/L) - blood gas analyser | Blood | Arterial / Venous | Siemens Rapidlyte balanced heparin syringe (3ml) | 0.8mL | ≤10min | Do not use non-heparinised Plastipaks. Don’t let sediment. Mix thoroughly by rotation. | Point of Care Test | - | No
Haemoglobin (total, tHb; g/L) - blood gas analyser | Blood | Capillary | Heparinised capillary | 0.10mL | ≤10min | Add capillary closing caps. Mix thoroughly by rotation. | Point of Care Test | - | No
Hydrogen ion concentration (H+) – blood gas analyser, see also pH | Blood | Arterial / Venous | Siemens Rapidlyte balanced heparin syringe (3ml) | 0.8mL | ≤10min | Do not use non-heparinised Plastipaks. Don’t let sediment. Mix thoroughly by rotation. | Point of Care Test | - | No
Hydrogen ion concentration (H+) – blood gas analyser, see also pH | Blood | Capillary | Heparinised capillary | 0.10mL | ≤10min | Add capillary closing caps. Mix thoroughly by rotation. | Point of Care Test | - | No
Lactate (blood gas analyser) | Blood | Arterial / Venous / Capillary | Siemens Rapidlyte balanced heparin syringe (3ml) or capillary with closing caps, | 0.8mL syr. 0.10mL cap. | ≤10min syr. ≤10min cap. | Do not use non-heparinised containers. Keep well mixed right up until analysis. Mix thoroughly by rotation. | Point of Care Test | - | No
Methaemoglobin (MetHb; reported as %Hb – blood gas analyser | Blood | Arterial / Venous | Siemens Rapidlyte balanced heparin syringe (3ml) | 0.8mL | ≤10min | Do not use non-heparinised Plastipaks. Don’t let sediment. Mix thoroughly by rotation. | Point of Care Test | - | No
Methaemoglobin (MetHb; reported as %Hb) – blood gas analyser | Blood | Capillary | Heparinised capillary | 0.10mL | ≤10min | Add capillary closing caps. Mix thoroughly by rotation. | Point of Care Test | - | No
Oxygen saturation (sO2 ; reported as %) – blood gas analyser | Blood | Arterial / Venous | Siemens Rapidlyte balanced heparin syringe (3ml) | 0.8mL | ≤10min | Do not use non-heparinised Plastipaks. Don’t let sediment. Mix thoroughly by rotation. | Point of Care Test | - | No
Oxygen saturation (sO2 ; reported as %) – blood gas analyser | Blood | Capillary | Heparinised capillary | 0.10mL | ≤10min | Add capillary closing caps. Mix thoroughly by rotation. | Point of Care Test | - | No
Oxyhaemoglobin (O2Hb ; reported as %Hb) – blood gas analyser | Blood | Arterial / Venous | Siemens Rapidlyte balanced heparin syringe (3ml) | 0.8mL | ≤10min | Do not use non-heparinised Plastipaks. Don’t let sediment. Mix thoroughly by rotation. | Point of Care Test | - | No
Oxyhaemoglobin (O2Hb ; reported as %Hb) – blood gas analyser | Blood | Capillary | Heparinised capillary | 0.10mL | ≤10min | Add capillary closing caps. Mix thoroughly by rotation. | Point of Care Test | - | No
pO2 / pCO2 / pH - Blood gas analyser | Blood | Arterial / Venous | Siemens Rapidlyte balanced heparin syringe (3ml) | 0.8mL | ≤10min | Do not use non-heparinised Plastipaks. Don’t let sediment. Mix thoroughly by rotation. | Point of Care Test | - | No
pO2 / pCO2 / pH - Blood gas analyser | Blood | Capillary | Heparinised capillary | 0.10mL | ≤10min | Add capillary closing caps. Mix thoroughly by rotation. | Point of Care Test | - | No
pH | Blood | - | - | - | - | See pO2, pCO2 & pH | Point of Care Test | - | No
pO2 | Blood | - | - | - | - | See pO2, pCO2 & pH | Point of Care Test | - | No
Potassium – blood gas analyser | Blood | Arterial / Venous / Capillary | Siemens Rapidlyte balanced heparin syringe (3ml) or capillary with closing caps, | 0.8mL syr. 0.10mL cap. | ≤10min syr. ≤10min cap. | Do not use non-heparinised containers. Mix thoroughly by rotation. | Point of Care Test | - | No
Rapid RSV (BinaxNOW®card) | Nasal pharyngeal swab eluted into BinaxNOW® Elution Solution | Nasal Pharyngeal Swab | BinaxNOW® Elution Solution Test Vial | Use pre-filled BinaxNOW® Elution Solution Test Vial to elute kit swab. | Assay time: 15-20 mins | Request as a 'Rapid RSV Test' & send directly to Clinical Chemistry. All nasopharyngeal swab specimens MUST be eluted by nursing/medical staff within one hour of swab collection. Note: Eluted specimens are stable at room temperature for up to 4 hours or for up to 48 hours at 2-8°C. This test is only validated for children under 5 years of age. | Clinical Chemistry | - | No
Sodium – blood gas analyser | Blood | Arterial / Venous / Capillary | Siemens Rapidlyte balanced heparin syringe (3ml) or capillary with closing caps, | 0.8mL syr. 0.10mL cap. | ≤10min syr. ≤10min cap. | Do not use non-heparinised containers. Mix thoroughly by rotation. | Point of Care Test | - | No